## inputs
Description | Value A | Value B | Value C | Value D
SYSTEM DESCRIPTION | VALUE
High Efficiency | FALSE
Integrator | TRUE
Location | California
Labor Rate | BLS Survey
Quarter | Q1
Year | 2022
Power Limited | FALSE
Max System Size (AC W) | 12000
Area Constrained | TRUE
Desired Power (W) | 3000
INSTALLATION | MIN | MEDIAN | MAX
Available Roof Space (m^2) | 27.9 | 42 | 54.3
Module Packing Efficiency | 75% | 88% | 95% |  | 36.96
Discount on Racking | 80% | 0% | 40% |  | 20.764
Gross Margin | 10% | 17% | 20%
Supply Chain Costs | 5% | 15% | 15%
| Installers | Integrators
Supply Chain Costs - Inverter | 25.87% | 12.94% |  | 25.87% | 12.94% | 0.2 | 0.1
Supply Chain Costs - Module Price Premium due to historical inventory | 7.762% | 7.762% |  | 7.762% | 7.762% | 0.06 | 0.06
Supply Chain Costs - Module due to small-scall procurement | 25.87% | 0% |  | 25.87% | 0% | 0.2 | 0
Supply Chain Costs - Module shipping and handling | 19.41% | 19.41% |  | 19.41% | 19.41% | 0.15 | 0.15
ENVIRONMENT | YES/NO | LOW | HIGH
Environment Saving? | No
Environment Land Acquisition |  | 5% | 10%
Environment Permit Reduction |  | 1% | 5%
MODULES | VALUE
Module Name | LG370Q1C-V5
Module Efficiency | 20.3%
Module Price ($/W) | 0.37 | [6 empty] | 14.6104
Module Width (m) | 1 |  | 0.99 | 1
Module Length (m) | 1.77 |  | 1.65 | 1.822
Module Spacing (in) | 1
Row Spacing (in) | 1.5 |  | 359.31 | 369.866
Module Count | 22 |  | 7904.82 | 8137.052
String Size | 10
INVERTER | VALUE
Inverter Choice | DC Optimizer |  |  | String Inverter
DC to AC Derate | 0.8 |  |  | Microinverter
DC to AC Ratio (String Inverter) | 1.06 |  |  | DC Optimizer
DC to AC Ratio (Microinverter) | 1.21
DC to AC Ratio (DC Optimizer) | 1.08
String Inverter Cost ($/Wac) | 0.164
DC Optimizer Cost ($/Wac) | 0.34038
Microinverter Cost ($/Wac) | 0.399
MARKET SHARE | Installers | Integrators
Market Share | 63% | 37%
String Inverter | 9%
Microinverter | 45%
DC Optimizer | 46%
UNCERTAINTY ANALYSIS PERCENTAGES | MIN | MODE | MAX | USER ENTERED AVERAGE
Design Conservatism Factor | 0.77 | 1 | 1.15 | 0.9867
Overhead & Profit on Materials and Equipments | 0.1 | 0.15 | 0.2
Profit on labor | 0.05 | 0.1 | 0.15
Permitting Cost | 0.5 | 1 | 2 | 1.0833
Substation Cost | 0.83 | 1 | 2.08 | 1.1517
Interconnection Fee Factor | 0.19 | 1 | 1.37 | 0.9267
Contingency - Logistics ? | 0.03 | 0.04 | 0.05 | 0.03
ASCE Coefficient Cn | 0.25 | 1 | 1.75 | 1
Transmission line distance (mode=0.5 mile) | 0 | 1 | 5 | 1
LOADING ANALYSIS | VALUE
Importance Factor, I | 0.9867
Wind Loading Factor | 0.9
BALANCE OF STATION | EQUIPMENT TYPE
Tubing | 4"x4"x0.137" 70 KSI Tubing
Column | W6 x 15 Shape, Gr. 50
Clamp | Universal Clamps
Average Racking Distributor Cost Discount | 0%
LABOR COSTS | VALUE
Office Staff: Procurement Clerks Wage ($/hr) | 19
Office Staff Hours | 6
Workers Comp Insurance | 13.8%
Federal and State Unemployment Insurance | 8%
Social Security Taxes (FICA) | 7.65%
Builder's Risk Insurance | 0.8%
Public Liability | 2.02%
Improved Logistics Percent | 0.015
Labor Time Factor | 1
Permitting Fee ($/System) | 200